## Cover
Energy-Efficiency Upgrade – Section 12L Business Case
Illustrative reference case
Prepared by | [Your name], Certified Energy Manager
Version / date | v1.0 – October 2026
Currency / basis | South African rand (ZAR), nominal; annual periods, end-of-year cash flows
Purpose
After-tax business case for an energy-efficiency retrofit (e.g. lighting, variable-speed drives, HVAC and compressed-air measures) at a tax-paying South African company, with and without the section 12L energy-efficiency savings allowance. Because the company has other taxable income, the project's tax line can be negative: a deduction in excess of the project's own savings reduces tax elsewhere in the company. The model reports NPV and IRR in both cases and the simple pre-tax payback.
All inputs are illustrative assumptions chosen to demonstrate the method. They are not drawn from any employer, client or real project. Nothing in this workbook is investment, tax or legal advice.
Workbook map
Cover | This page: purpose, workbook map, how to use, colour key, simplifications.
Inputs | Every assumption in one place (blue cells), with units and source/notes. Inputs are named ranges.
Calculations | Annual timeline (year 0 to 15, flag-driven): savings, maintenance, capex, tax depreciation, the 12L allowance, and after-tax cash flows for Case A (without 12L) and Case B (with 12L).
Outputs | Dashboard: NPV and IRR with and without 12L, simple payback, value of the allowance, a 12L claim-period sensitivity, integrity checks and charts.
How to use
Step 1 | Change only the blue-on-yellow cells on the Inputs sheet (project life up to 15 years).
Step 2 | Read the results on Outputs. All downstream cells are formulas and update automatically.
Step 3 | Confirm the 'Model integrity checks' block on Outputs shows OK for every line before using a result.
Step 4 | Years_12L sets how many years of savings are claimed under 12L (reference 1; see NOTES.md for why).
Step 5 | Charts are set to the reference life (10 years); extend their ranges if you lengthen it.
Colour key
1,000 | Input / assumption (blue font, yellow fill) – the only cells you should edit
1,000 | Calculation (black font) – formula, do not overwrite
1,000 | Direct link to another sheet (green font)
OK | Integrity check passed (red fill = check failed)
Key simplifications
• | Energy saving is constant in kWh every year (no performance decay, weather or production normalisation).
• | Single blended avoided tariff (R/kWh) escalating at a constant rate; no time-of-use or demand-charge detail.
• | The company is tax-paying with enough other taxable income to absorb any negative project tax in the same year.
• | Tax depreciation straight-line over 5 years from year 1 (an assumption); no recoupment or residual value.
• | 12L allowance claimed in year 1 only in the reference case; M&V and SANEDI certification costs not modelled; assumes no concurrent government benefit (e.g. a utility rebate) for the same savings.
• | VAT ignored; capex at year 0; annual periods with end-of-year cash flows; tax paid in the year it arises.
Formulas only downstream of Inputs; IRR and NPV via Excel functions. The workbook was recalculated in LibreOffice and cross-checked against an independent Python implementation of the same specification.

## Inputs
Inputs – all assumptions
Blue-on-yellow cells are inputs. Every downstream cell is a formula. Each input is a named range (shown in brackets) so formulas read in plain language.
ILLUSTRATIVE REFERENCE CASE – not based on any real project, client or employer data
Assumption | Value | Unit | Source / notes (named range in brackets)
Project
Installed capital cost | 3500000 | R | Turnkey cost of the efficiency measures, incurred at year 0, excl. VAT. Illustrative. [EE_Capex]
Annual electricity saved | 450000 | kWh/yr | Measured and verified saving against the baseline; constant each year. Illustrative. [Energy_Saved_kWh]
Economic life | 10 | years | Whole years 1–15 (timeline capacity 15). [Project_Life]
Electricity tariff and running costs
Avoided electricity tariff, year 1 | 2.2 | R/kWh | Blended avoided cost per kWh (energy plus the demand/network charges the measure avoids), excl. VAT. Illustrative. [Tariff_Y1]
Tariff escalation | 8% | %/yr | savings_y = kWh × tariff_1 × (1 + escalation)^(y − 1). [Tariff_Escalation]
Maintenance, year 1 | 50000 | R/yr | Incremental O&M of the new equipment. Illustrative. [Maint_Y1]
Maintenance escalation | 5% | %/yr | maintenance_y = maintenance_1 × (1 + escalation)^(y − 1). [Maint_Escalation]
Tax
Corporate income tax rate | 27% | % | SA company rate for years of assessment ending on/after 31 March 2023. The company is assumed to be tax-paying. [Tax_Rate]
Tax depreciation period (straight-line) | 5 | years | Assumption: 20%/yr from year 1. Actual write-off depends on the asset class (e.g. s11(e) wear-and-tear or s12C). [Dep_Years]
Section 12L allowance rate | 0.95 | R/kWh | s12L(2): 95 cents per kWh of verified savings (rate since 1 March 2015). Extended to years of assessment ending before 1 January 2031. [Allowance_12L_Rate]
Years of savings claimed under 12L | 1 | years | Claimed from year 1. Reference = 1: SARS IN 95 – baseline resets each year of assessment, so a measure's saving is normally claimable once (one 12-month period). [Years_12L]
Valuation
After-tax discount rate (hurdle) | 12% | % | Nominal after-tax rate for NPV (year 0 undiscounted, end-of-year discounting). [Discount_Rate]
Derived values (formulas – do not edit)
Gross electricity cost saving, year 1 | 990000 | R | kWh × year-1 tariff. [Gross_Saving_Y1]
Net pre-tax saving, year 1 | 940000 | R | Gross saving − maintenance (denominator of simple payback). [Net_Saving_Y1]
Annual tax depreciation | 700000 | R/yr | Capex ÷ depreciation period. [Annual_Tax_Dep]
12L allowance per year claimed | 427500 | R | R/kWh × kWh saved (a tax deduction, not a cash grant). [Allowance_12L_Annual]
Tax value of 12L per kWh | 0.2565 | R/kWh | Deduction × tax rate = cash tax saved per kWh. [Tax_Value_12L_per_kWh]
All values are illustrative. Section 12L requires a SANEDI certificate based on a measurement and verification (M&V) report; M&V costs are not modelled.

## Calculations
Calculations – annual timeline (nominal ZAR)
All cells are formulas driven by the Inputs sheet. Year 0 = installation (capex); savings start in year 1. Tax lines: positive = tax payable, negative = tax saved against the company's other income.
ILLUSTRATIVE REFERENCE CASE – not based on any real project, client or employer data
Model year | Unit | Total / value | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Operating flag (1 = within project life) | flag |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Tax depreciation flag (1 = within depreciation period) | flag |  | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Section 12L claim flag (1 = allowance claimed) | flag |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1. Energy and cost savings
Electricity saved | kWh | 4500000 |  | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 450000 | 0 | 0 | 0 | 0 | 0
Avoided electricity tariff | R/kWh |  |  | 2.2 | 2.376 | 2.5661 | 2.7714 | 2.9931 | 3.2325 | 3.4911 | 3.7704 | 4.072 | 4.3978 | 0 | 0 | 0 | 0 | 0
Gross electricity cost saving | R | 14341696.8413 |  | 990000 | 1069200 | 1154736 | 1247114.88 | 1346884.0704 | 1454634.796 | 1571005.5797 | 1696686.0261 | 1832420.9082 | 1979014.5808 | 0 | 0 | 0 | 0 | 0
Maintenance cost | R | 628894.6268 |  | 50000 | 52500 | 55125 | 57881.25 | 60775.3125 | 63814.0781 | 67004.782 | 70355.0211 | 73872.7722 | 77566.4108 | 0 | 0 | 0 | 0 | 0
Net pre-tax saving | R | 13712802.2145 |  | 940000 | 1016700 | 1099611 | 1189233.63 | 1286108.7579 | 1390820.7179 | 1504000.7977 | 1626331.005 | 1758548.136 | 1901448.17 | 0 | 0 | 0 | 0 | 0
2. Capital expenditure and tax deductions
Capital expenditure | R | 3500000 | 3500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation (straight-line) | R | 3500000 |  | 700000 | 700000 | 700000 | 700000 | 700000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Section 12L allowance (deduction) | R | 427500 |  | 427500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3. Case A – without section 12L
Net pre-tax saving | R | 13712802.2145 |  | 940000 | 1016700 | 1099611 | 1189233.63 | 1286108.7579 | 1390820.7179 | 1504000.7977 | 1626331.005 | 1758548.136 | 1901448.17 | 0 | 0 | 0 | 0 | 0
Less: tax depreciation | R | -3500000 |  | -700000 | -700000 | -700000 | -700000 | -700000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income effect | R | 10212802.2145 |  | 240000 | 316700 | 399611 | 489233.63 | 586108.7579 | 1390820.7179 | 1504000.7977 | 1626331.005 | 1758548.136 | 1901448.17 | 0 | 0 | 0 | 0 | 0
Tax payable / (saved) | R | 2757456.5979 |  | 64800 | 85509 | 107894.97 | 132093.0801 | 158249.3646 | 375521.5938 | 406080.2154 | 439109.3713 | 474807.9967 | 513391.0059 | 0 | 0 | 0 | 0 | 0
Capital expenditure | R | -3500000 | -3500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
After-tax cash flow | R | 7455345.6166 | -3500000 | 875200 | 931191 | 991716.03 | 1057140.5499 | 1127859.3933 | 1015299.1241 | 1097920.5823 | 1187221.6336 | 1283740.1393 | 1388057.1641 | 0 | 0 | 0 | 0 | 0
Cumulative after-tax cash flow | R |  | -3500000 | -2624800 | -1693609 | -701892.97 | 355247.5799 | 1483106.9732 | 2498406.0972 | 3596326.6795 | 4783548.3132 | 6067288.4524 | 7455345.6166 | 7455345.6166 | 7455345.6166 | 7455345.6166 | 7455345.6166 | 7455345.6166
4. Case B – with section 12L
Net pre-tax saving | R | 13712802.2145 |  | 940000 | 1016700 | 1099611 | 1189233.63 | 1286108.7579 | 1390820.7179 | 1504000.7977 | 1626331.005 | 1758548.136 | 1901448.17 | 0 | 0 | 0 | 0 | 0
Less: tax depreciation | R | -3500000 |  | -700000 | -700000 | -700000 | -700000 | -700000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: section 12L allowance | R | -427500 |  | -427500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income effect | R | 9785302.2145 |  | -187500 | 316700 | 399611 | 489233.63 | 586108.7579 | 1390820.7179 | 1504000.7977 | 1626331.005 | 1758548.136 | 1901448.17 | 0 | 0 | 0 | 0 | 0
Tax payable / (saved) | R | 2642031.5979 |  | -50625 | 85509 | 107894.97 | 132093.0801 | 158249.3646 | 375521.5938 | 406080.2154 | 439109.3713 | 474807.9967 | 513391.0059 | 0 | 0 | 0 | 0 | 0
Capital expenditure | R | -3500000 | -3500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
After-tax cash flow | R | 7570770.6166 | -3500000 | 990625 | 931191 | 991716.03 | 1057140.5499 | 1127859.3933 | 1015299.1241 | 1097920.5823 | 1187221.6336 | 1283740.1393 | 1388057.1641 | 0 | 0 | 0 | 0 | 0
Cumulative after-tax cash flow | R |  | -3500000 | -2509375 | -1578184 | -586467.97 | 470672.5799 | 1598531.9732 | 2613831.0972 | 3711751.6795 | 4898973.3132 | 6182713.4524 | 7570770.6166 | 7570770.6166 | 7570770.6166 | 7570770.6166 | 7570770.6166 | 7570770.6166
5. Discounting and value of the 12L allowance
Discount factor at hurdle rate | factor |  | 1 | 0.89286 | 0.79719 | 0.71178 | 0.63552 | 0.56743 | 0.50663 | 0.45235 | 0.40388 | 0.36061 | 0.32197 | 0.28748 | 0.25668 | 0.22917 | 0.20462 | 0.1827
PV of after-tax cash flow – without 12L (total = NPV) | R | 2441833.2317 | -3500000 | 781428.5714 | 742339.764 | 705883.8816 | 671831.9309 | 639977.7092 | 514382.1336 | 496643.5139 | 479498.9057 | 462929.5637 | 446917.2577 | 0 | 0 | 0 | 0 | 0
PV of after-tax cash flow – with 12L (total = NPV) | R | 2544891.2674 | -3500000 | 884486.6071 | 742339.764 | 705883.8816 | 671831.9309 | 639977.7092 | 514382.1336 | 496643.5139 | 479498.9057 | 462929.5637 | 446917.2577 | 0 | 0 | 0 | 0 | 0
Incremental tax saved from 12L | R | 115425 |  | 115425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV of incremental 12L tax saving | R | 103058.0357 |  | 103058.0357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Outputs
Outputs – dashboard
Headline results of the reference case, with and without the section 12L allowance. All values are live formulas.
ILLUSTRATIVE REFERENCE CASE – not based on any real project, client or employer data
Headline outputs
Metric | Without 12L | With 12L | Difference | Unit | Basis
NPV at 12% (after tax) | 2441833.2317 | 2544891.2674 | 103058.0357 | R | Year-0 capex undiscounted; years 1+ discounted at the hurdle rate.
IRR (after tax) | 26.07% | 26.9% | 0.83% | % | IRR of after-tax cash flows, year 0 to end of life.
Simple pre-tax payback | 3.7234 | 3.7234 | 0 | years | Capex ÷ (year-1 savings − year-1 maintenance); identical in both cases.
Total after-tax cash flow over life (nominal) | 7455345.6166 | 7570770.6166 | 115425 | R | Undiscounted sum including year-0 capex.
Section 12L allowance claimed (deduction) | 0 | 427500 | 427500 | R | Rate × kWh × years claimed.
Tax saved by 12L (nominal) | 0 | 115425 | 115425 | R | Allowance × tax rate.
Key figures
Electricity saved per year |  | 450000 |  | kWh | Constant over the life.
Gross cost saving, year 1 |  | 990000 |  | R | kWh × year-1 tariff.
Net pre-tax saving, year 1 |  | 940000 |  | R | Gross saving − maintenance.
12L allowance per year claimed |  | 427500 |  | R | R0.95/kWh × kWh saved.
Cash tax value of 12L per kWh |  | 0.2565 |  | R/kWh | Allowance rate × tax rate.
PV of the 12L tax saving |  | 103058.0357 |  | R | Equals the NPV difference above.
12L tax saving as % of capex (nominal) |  | 3.298% |  | % | Allowance × tax rate ÷ capex.
Sensitivity – NPV by number of years of savings claimed under 12L (illustrative)
Years of savings claimed | Years (input) | NPV at 12% | vs no 12L |  | Comment
Claimed for 0 years | 0 | 2441833.2317 | 0 |  | No 12L claim (Case A).
Claimed for 1 year | 1 | 2544891.2674 | 103058.0357 |  | Reference: one 12-month period of savings (SARS IN 95 baseline reset).
Claimed for 2 years | 2 | 2636907.3708 | 195074.139 |  | Illustrative only – not supported for the same savings under IN 95.
Claimed for 3 years | 3 | 2719064.6059 | 277231.3741 |  | Illustrative only – not supported for the same savings under IN 95.
Closed form: NPV without 12L + PV of (tax rate × R/kWh × kWh) for the years claimed. Year counts in column C are sensitivity inputs.
Model integrity checks
NPV difference = PV of incremental 12L tax saving | OK
NPV() function = sum of discounted cash flows (both cases) | OK
Total tax depreciation = capex | OK
12L claim years and depreciation period within project life | OK
Project life within timeline capacity (15 years) | OK
12L allowance = rate × kWh × years claimed | OK
Overall model status | OK
Charts show the reference life (years 0–10). Simplifications: constant kWh savings, single blended tariff, tax-paying company, no VAT, annual periods.