## Cover
Rooftop Solar PPA – Project Finance Model (1 MWp)
Illustrative reference case
Prepared by | [Your name], Certified Energy Manager
Version / date | v1.0 – October 2026
Currency / basis | South African rand (ZAR), nominal; annual periods, end-of-year cash flows
Purpose
Annual, nominal-rand project-finance model of a 1 MWp commercial rooftop PV plant that sells its output to the building owner under a 20-year power purchase agreement (PPA), funded 65% with amortising senior debt and 35% with equity. It calculates unlevered project and equity returns, debt service cover ratios (DSCR), equity NPV, the levelised cost of energy (LCOE) and equity payback, and flexes tariff and capex in formula-driven scenarios.
All inputs are illustrative assumptions chosen to demonstrate the method. They are not drawn from any employer, client or real project. Nothing in this workbook is investment, tax or legal advice.
Workbook map
Cover | This page: purpose, workbook map, how to use, colour key, simplifications.
Inputs | Every assumption in one place (blue cells), with units and source/notes. Key inputs are named ranges.
Calculations | Annual timeline (year 0 to 25, flag-driven) in grouped blocks: generation & revenue, opex & EBITDA, capex & tax depreciation, senior debt, levered tax, CFADS & DSCR, equity cash flow, unlevered project cash flow, LCOE and equity discounting.
Outputs | Dashboard: headline metrics, key figures, integrity checks and charts (cash flow, DSCR, payback).
Sensitivity | Tariff ±10% and capex ±10% effect on equity IRR and minimum DSCR. Each scenario is a full formula re-run (no Excel data tables), so it recalculates in Excel, LibreOffice and Google Sheets.
How to use
Step 1 | Change only the blue-on-yellow cells on the Inputs sheet (term up to 25 years; tenor must not exceed term).
Step 2 | Read the results on Outputs. All downstream cells are formulas and update automatically.
Step 3 | Confirm the 'Model integrity checks' block on Outputs shows OK for every line before using a result.
Step 4 | Use the Sensitivity sheet for one-way and two-way tariff/capex flexes; the flex sizes are inputs on Inputs.
Step 5 | Charts are set to the reference term (20 years) and tenor (10 years); extend their ranges if you lengthen either.
Colour key
1,000 | Input / assumption (blue font, yellow fill) – the only cells you should edit
1,000 | Calculation (black font) – formula, do not overwrite
1,000 | Direct link to another sheet (green font)
OK | Integrity check passed (red fill = check failed)
Key simplifications
• | No residual/terminal value at the end of the PPA term.
• | No debt service reserve account (DSRA), no debt fees, no interest during construction, no hedging.
• | No inverter replacement or other lifecycle capex.
• | VAT ignored (tariffs, capex and opex are VAT-exclusive).
• | Annual periods with end-of-year cash flows; capex and debt drawdown at year 0, operations from year 1, no construction period.
• | No working capital, no dividend lock-up or cash sweep; all cash after debt service is distributed to equity.
• | Tax: 27% rate; s12B 100% year-1 allowance; assessed losses carried forward indefinitely and set off in full (the s20 cap on set-off – greater of R1m or 80% of taxable income – is ignored, per the shared spec).
Formulas only downstream of Inputs; IRR and NPV via Excel functions. The workbook was recalculated in LibreOffice and cross-checked against an independent Python implementation of the same specification.

## Inputs
Inputs – all assumptions
Blue-on-yellow cells are inputs. Every downstream cell is a formula. Each input is a named range (shown in brackets) so formulas read in plain language.
ILLUSTRATIVE REFERENCE CASE – not based on any real project, client or employer data
Assumption | Value | Unit | Source / notes (named range in brackets)
Technical
System size (DC nameplate) | 1000 | kWp | Reference case 1 MWp rooftop PV. Illustrative. [Size_kWp]
Specific yield, year 1 | 1650 | kWh/kWp/yr | Year-1 P50 yield per kWp. Illustrative; in practice from a site-specific energy yield assessment. [Specific_Yield]
Annual module degradation | 0.5% | %/yr | generation_y = size × yield × (1 − degradation)^(y − 1). [Degradation_Rate]
Capital cost
EPC capital cost | 12 | R/Wp | Turnkey cost incl. grid connection, excl. VAT; incurred at year 0. Illustrative. [Capex_per_Wp]
Operating costs
O&M, insurance and monitoring, year 1 | 180 | R/kWp/yr | Escalates with CPI: opex_y = rate × size × (1 + CPI)^(y − 1). Illustrative. [Opex_per_kWp]
Opex escalation (CPI) | 5% | %/yr | Illustrative CPI assumption. [Opex_Escalation]
Revenue (PPA)
PPA tariff, year 1 | 1.15 | R/kWh | VAT-exclusive energy tariff paid by the offtaker for every kWh generated. Illustrative. [Tariff_Y1]
PPA tariff escalation | 5.5% | %/yr | tariff_y = tariff_1 × (1 + escalation)^(y − 1). [Tariff_Escalation]
PPA term / model horizon | 20 | years | Whole years 1–25 (timeline capacity 25). Operating flag switches cash flows off after the term. [PPA_Term]
Financing
Senior debt as % of capex | 65% | % of capex | Debt drawn in full at year 0. [Gearing]
Senior debt interest rate (all-in) | 11.5% | % p.a. | Nominal fixed all-in rate. No fees, commitment charges or hedging. [Interest_Rate]
Debt tenor | 10 | years | Level annuity (equal annual debt service) paid annually in arrears from year 1. Must not exceed the term. [Debt_Tenor]
Tax
Corporate income tax rate | 27% | % | SA company rate for years of assessment ending on/after 31 March 2023. [Tax_Rate]
Tax depreciation – year 1 | 100% | % of capex | s12B: PV not exceeding 1 MW = 100% in the year first brought into use (reference assumption; see NOTES.md). [Tax_Dep_Y1]
Tax depreciation – year 2 | 0% | % of capex | PV above 1 MW: s12B gives 50% / 30% / 20% over three years – enter 50%, 30%, 20% to test that case. [Tax_Dep_Y2]
Tax depreciation – year 3 | 0% | % of capex | Profile must total 100% (check below). s12BA (125%) lapsed for assets brought into use after 28 Feb 2025. [Tax_Dep_Y3]
Valuation
Equity discount rate | 16% | % | Nominal post-tax cost of equity used for equity NPV (year 0 undiscounted, end-of-year discounting). [Equity_Discount_Rate]
LCOE discount rate | 10% | % | Nominal pre-tax: LCOE = [capex + Σ opex_y/(1+r)^y] / [Σ generation_y/(1+r)^y]. [LCOE_Discount_Rate]
Reference DSCR threshold (display only) | 1.2 | x | Illustrative lender comfort level for the DSCR chart and headroom metric. Does not size the debt. [DSCR_Threshold]
Sensitivity flexes
Tariff flex (±) | 10% | % | Applied to the tariff in every year on the Sensitivity sheet. [Sens_Tariff_Flex]
Capex flex (±) | 10% | % | Applied to capex on the Sensitivity sheet; debt stays at the gearing % of the flexed capex. [Sens_Capex_Flex]
Derived values (formulas – do not edit)
Total capital cost | 12000000 | R | Size (kWp) × 1,000 W/kW × R/Wp. [Capex_Total]
Senior debt | 7800000 | R | Capex × gearing. [Debt_Amount]
Equity contribution | 4200000 | R | Capex − senior debt. [Equity_Amount]
Annual debt service (level annuity) | 1352342.2397 | R/yr | PMT(rate, tenor, debt): constant interest + principal each year of the tenor. [Debt_Service_Annual]
Generation, year 1 | 1650000 | kWh | Size × specific yield. [Gen_Y1]
Opex, year 1 | 180000 | R | R/kWp/yr × kWp. [Opex_Y1]
Tax depreciation profile total | 100% | % | Must equal 100% (checked on Outputs). [Tax_Dep_Total]
Tax notes (plain notes – not modelled)
1 MW threshold (s12B) | The 100% year-1 allowance applies to PV 'not exceeding 1 MW'. This 1 MWp (DC) plant sits exactly at the threshold; confirm with a tax adviser whether capacity is measured on the AC (inverter) or DC (module) rating. If the plant does not qualify, enter 50% / 30% / 20% in the depreciation profile above.
Assessed-loss set-off (s20) | Per the shared spec, carried-forward assessed losses are set off in full. For years of assessment ending on or after 31 March 2023, s20 limits a company's set-off to the greater of R1 million or 80% of taxable income; applying the cap would defer some tax. Not modelled.
Simplifications (reference case): no residual value, no DSRA, no inverter replacement, no VAT, annual periods. All values are illustrative.

## Calculations
Calculations – annual timeline (nominal ZAR)
All cells are formulas driven by the Inputs sheet. Year 0 = financial close (capex, debt drawdown, equity); operations start in year 1.
ILLUSTRATIVE REFERENCE CASE – not based on any real project, client or employer data
Model year | Unit | Total / value | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Operating flag (1 = within PPA term) | flag |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Debt service flag (1 = within tenor) | flag |  | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1. Generation and revenue
Net generation | kWh | 31478541.5094 | 0 | 1650000 | 1641750 | 1633541.25 | 1625373.5437 | 1617246.676 | 1609160.4427 | 1601114.6404 | 1593109.0672 | 1585143.5219 | 1577217.8043 | 1569331.7153 | 1561485.0567 | 1553677.6314 | 1545909.2433 | 1538179.697 | 1530488.7986 | 1522836.3546 | 1515222.1728 | 1507646.0619 | 1500107.8316 | 0 | 0 | 0 | 0 | 0
PPA tariff | R/kWh |  | 0 | 1.15 | 1.2132 | 1.28 | 1.3504 | 1.4246 | 1.503 | 1.5857 | 1.6729 | 1.7649 | 1.862 | 1.9644 | 2.0724 | 2.1864 | 2.3066 | 2.4335 | 2.5673 | 2.7086 | 2.8575 | 3.0147 | 3.1805 | 0 | 0 | 0 | 0 | 0
Revenue | R | 62560603.8069 | 0 | 1897500 | 1991853.1875 | 2090898.0872 | 2194867.9946 | 2304007.8057 | 2418574.5938 | 2538838.2155 | 2665081.9457 | 2797603.1455 | 2936713.9619 | 3082742.0637 | 3236031.4128 | 3396943.0748 | 3565856.0692 | 3743168.2622 | 3929297.3041 | 4124681.6125 | 4329781.4057 | 4545079.7861 | 4771083.8784 | 0 | 0 | 0 | 0 | 0
2. Operating costs and EBITDA
Operating costs (O&M, insurance, monitoring) | R | 5951871.7385 | 0 | 180000 | 189000 | 198450 | 208372.5 | 218791.125 | 229730.6812 | 241217.2153 | 253278.0761 | 265941.9799 | 279239.0789 | 293201.0328 | 307861.0845 | 323254.1387 | 339416.8456 | 356387.6879 | 374207.0723 | 392917.4259 | 412563.2972 | 433191.4621 | 454851.0352 | 0 | 0 | 0 | 0 | 0
EBITDA | R | 56608732.0684 | 0 | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
3. Capital expenditure and tax depreciation
Capital expenditure | R | 12000000 | 12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation (s12B profile from Inputs) | R | 12000000 | 0 | 12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. Senior debt – level annuity, paid annually in arrears
Opening balance | R |  |  | 7800000 | 7344657.7603 | 6836951.1631 | 6270858.3072 | 5639664.7729 | 4935883.9821 | 4151168.4004 | 3276210.5267 | 2300632.4976 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drawdown | R | 7800000 | 7800000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service (interest + principal) | R | 13523422.3966 | 0 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
of which interest | R | 5723422.3966 |  | 897000 | 844635.6424 | 786249.3838 | 721148.7053 | 648561.4489 | 567626.6579 | 477384.366 | 376764.2106 | 264572.7372 | 139479.2444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
of which principal | R | 7800000 |  | 455342.2397 | 507706.5972 | 566092.8559 | 631193.5343 | 703780.7908 | 784715.5817 | 874957.8736 | 975578.0291 | 1087769.5024 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing balance | R |  | 7800000 | 7344657.7603 | 6836951.1631 | 6270858.3072 | 5639664.7729 | 4935883.9821 | 4151168.4004 | 3276210.5267 | 2300632.4976 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5. Tax – project company (levered, with assessed-loss carry-forward)
EBITDA | R | 56608732.0684 |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Less: interest | R | -5723422.3966 |  | -897000 | -844635.6424 | -786249.3838 | -721148.7053 | -648561.4489 | -567626.6579 | -477384.366 | -376764.2106 | -264572.7372 | -139479.2444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: tax depreciation | R | -12000000 |  | -12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R | 38885309.6717 |  | -11179500 | 958217.5451 | 1106198.7035 | 1265346.7893 | 1436655.2318 | 1621217.2546 | 1820236.6341 | 2035039.6591 | 2267088.4284 | 2517995.6386 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Assessed loss brought forward | R |  |  | 0 | 11179500 | 10221282.4549 | 9115083.7514 | 7849736.9621 | 6413081.7303 | 4791864.4757 | 2971627.8416 | 936588.1825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income after assessed-loss set-off | R | 38885309.6717 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1330500.2459 | 2517995.6386 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 11179500 | 10221282.4549 | 9115083.7514 | 7849736.9621 | 6413081.7303 | 4791864.4757 | 2971627.8416 | 936588.1825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R | 10499033.6114 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 359235.0664 | 679858.8224 | 753176.0783 | 790605.9886 | 829896.0127 | 871138.5904 | 914430.7551 | 959874.3626 | 1007576.3304 | 1057648.8893 | 1110209.8475 | 1165382.8677 | 0 | 0 | 0 | 0 | 0
6. Cash flow available for debt service (CFADS) and DSCR
EBITDA | R | 56608732.0684 |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Less: tax paid (levered) | R | -10499033.6114 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -359235.0664 | -679858.8224 | -753176.0783 | -790605.9886 | -829896.0127 | -871138.5904 | -914430.7551 | -959874.3626 | -1007576.3304 | -1057648.8893 | -1110209.8475 | -1165382.8677 | 0 | 0 | 0 | 0 | 0
CFADS | R | 46109698.457 |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2172426.0992 | 1977616.0606 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
Debt service | R | 13523422.3966 |  | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR (CFADS / debt service) | x |  | 1: 1.27; 2: 1.3331; 3: 1.3994; 4: 1.4689; 5: 1.5419; 6: 1.6186; 7: 1.699; 8: 1.7834; 9: 1.6064; 10: 1.4624
Reference DSCR threshold (chart only) | x |  | 1: 1.2; 2: 1.2; 3: 1.2; 4: 1.2; 5: 1.2; 6: 1.2; 7: 1.2; 8: 1.2; 9: 1.2; 10: 1.2
7. Equity cash flows
Equity contribution | R | -4200000 | -4200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributions (CFADS − debt service) | R | 32586276.0604 |  | 365157.7603 | 450510.9478 | 540105.8476 | 634153.255 | 732874.441 | 836501.6729 | 945278.7605 | 1059461.63 | 820083.8596 | 625273.821 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
Equity cash flow | R | 28386276.0604 | -4200000 | 365157.7603 | 450510.9478 | 540105.8476 | 634153.255 | 732874.441 | 836501.6729 | 945278.7605 | 1059461.63 | 820083.8596 | 625273.821 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
Cumulative equity cash flow | R |  | -4200000 | -3834842.2397 | -3384331.2918 | -2844225.4442 | -2210072.1893 | -1477197.7483 | -640696.0754 | 304582.6851 | 1364044.3151 | 2184128.1747 | 2809401.9957 | 4845766.9482 | 6983331.2879 | 9227124.2112 | 11582424.8444 | 14054774.6637 | 16649990.5328 | 19374178.3891 | 22233747.6082 | 25235426.0848 | 28386276.0604 | 28386276.0604 | 28386276.0604 | 28386276.0604 | 28386276.0604 | 28386276.0604
Payback reached (1 = cumulative ≥ 0) | flag |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8. Unlevered project cash flows (post-tax, own assessed-loss carry-forward)
EBITDA | R | 56608732.0684 |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Less: tax depreciation | R | -12000000 |  | -12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unlevered taxable income before assessed loss | R | 44608732.0684 |  | -10282500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Assessed loss brought forward | R |  |  | 0 | 10282500 | 8479646.8125 | 6587198.7253 | 4600703.2306 | 2515486.5499 | 326642.6374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income after assessed-loss set-off | R | 44608732.0684 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1970978.3628 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 10282500 | 8479646.8125 | 6587198.7253 | 4600703.2306 | 2515486.5499 | 326642.6374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (unlevered) | R | 12044357.6585 |  | 0 | 0 | 0 | 0 | 0 | 0 | 532164.158 | 651187.0448 | 683548.5147 | 717518.2184 | 753176.0783 | 790605.9886 | 829896.0127 | 871138.5904 | 914430.7551 | 959874.3626 | 1007576.3304 | 1057648.8893 | 1110209.8475 | 1165382.8677 | 0 | 0 | 0 | 0 | 0
Capital expenditure | R | -12000000 | -12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Project cash flow (unlevered, post-tax) | R | 32564374.4099 | -12000000 | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 1765456.8422 | 1760616.8249 | 1848112.6509 | 1939956.6646 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
9. Levelised cost of energy (pre-tax, nominal)
Discount factor at LCOE rate | factor |  | 1 | 0.90909 | 0.82645 | 0.75131 | 0.68301 | 0.62092 | 0.56447 | 0.51316 | 0.46651 | 0.4241 | 0.38554 | 0.35049 | 0.31863 | 0.28966 | 0.26333 | 0.23939 | 0.21763 | 0.19784 | 0.17986 | 0.16351 | 0.14864 | 0.13513 | 0.12285 | 0.11168 | 0.10153 | 0.092296
PV of capex | R | 12000000 | 12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV of opex | R | 2180175.1304 | 0 | 163636.3636 | 156198.3471 | 149098.4222 | 142321.2212 | 135852.0748 | 129676.9805 | 123782.5723 | 118156.0917 | 112785.3603 | 107658.753 | 102765.1733 | 98094.0291 | 93635.2096 | 89379.0637 | 85316.379 | 81438.3617 | 77736.618 | 74203.1354 | 70830.2656 | 67610.7081 | 0 | 0 | 0 | 0 | 0
PV of generation | kWh | 13601270.827 | 0 | 1500000 | 1356818.1818 | 1227303.719 | 1110152.0004 | 1004182.9458 | 908329.1192 | 821624.976 | 743197.1373 | 672255.5924 | 608085.7404 | 550041.1925 | 497537.2605 | 450045.0674 | 407086.2201 | 368227.99 | 333078.9546 | 301285.0544 | 272526.0264 | 246512.1785 | 222981.4705 | 0 | 0 | 0 | 0 | 0
LCOE = (PV capex + PV opex) / PV generation | R/kWh | 1.0426
Memo: PV of revenue | R | 22934743.897 | 0 | 1725000 | 1646159.6591 | 1570922.6801 | 1499124.3731 | 1430607.575 | 1365222.3061 | 1302825.4412 | 1243280.3966 | 1186456.8312 | 1132230.361 | 1080482.287 | 1031099.3352 | 983973.4088 | 939001.3514 | 896084.7214 | 855129.5765 | 816046.2679 | 778749.2442 | 743156.864 | 709191.2173 | 0 | 0 | 0 | 0 | 0
Memo: levelised PPA tariff = PV revenue / PV generation | R/kWh | 1.6862
10. Equity discounting (cross-check of NPV function)
Discount factor at equity rate | factor |  | 1 | 0.86207 | 0.74316 | 0.64066 | 0.55229 | 0.47611 | 0.41044 | 0.35383 | 0.30503 | 0.26295 | 0.22668 | 0.19542 | 0.16846 | 0.14523 | 0.1252 | 0.10793 | 0.093041 | 0.080207 | 0.069144 | 0.059607 | 0.051385 | 0.044298 | 0.038188 | 0.03292 | 0.02838 | 0.024465
PV of equity cash flow (total = equity NPV) | R | 1497251.1229 | -4200000 | 314791.1727 | 334803.0231 | 346022.9558 | 350237.1974 | 348931.06 | 343335.6327 | 334467.5394 | 323162.7677 | 215643.4947 | 141739.3229 | 397940.1253 | 360100.1688 | 325858.395 | 294872.6547 | 266833.3335 | 241460.2581 | 218499.8966 | 197722.8253 | 178921.4363 | 161907.863 | 0 | 0 | 0 | 0 | 0

## Outputs
Outputs – dashboard
Headline results of the reference case. All values are live formulas.
ILLUSTRATIVE REFERENCE CASE – not based on any real project, client or employer data
Headline outputs
Metric | Value | Unit | Basis
Project IRR (unlevered, post-tax) | 15.64% | % | IRR of −capex at year 0 and EBITDA − unlevered tax thereafter (§8).
Equity IRR | 19.98% | % | IRR of −equity at year 0 and CFADS − debt service thereafter (§7).
Minimum DSCR | 1.27 | x | Lowest annual CFADS / debt service over the tenor (§6).
Average DSCR (debt years) | 1.5183 | x | Arithmetic mean of the annual DSCRs over the tenor.
Equity NPV at 16% | 1497251.1229 | R | Year-0 flow undiscounted; years 1+ discounted at the equity rate.
LCOE (pre-tax, nominal, 10%) | 1.0426 | R/kWh | [capex + Σ opex_y/1.10^y] / [Σ generation_y/1.10^y] (§9).
Equity payback year | 7 | year | First year in which cumulative equity cash flow (incl. year 0) is ≥ 0.
Year-1 generation | 1650000 | kWh | Size × specific yield.
Key figures
Total capex (year 0) | 12000000 | R | Size × R/Wp.
Senior debt | 7800000 | R | Gearing × capex.
Equity | 4200000 | R | Capex − debt.
Annual debt service (years 1 to tenor) | 1352342.2397 | R | Level annuity.
Year-1 revenue | 1897500 | R | Year-1 generation × year-1 tariff.
Year-1 EBITDA | 1717500 | R | Revenue − opex.
Levelised PPA tariff (nominal, 10%) | 1.6862 | R/kWh | PV of revenue ÷ PV of generation at the LCOE discount rate (§9).
Levelised tariff ÷ LCOE | 1.6174 | x | Like-for-like margin of the PPA price over the plant's levelised cost.
Year of minimum DSCR | 1 | year | Year in which the minimum DSCR occurs.
Minimum DSCR headroom over reference threshold | 0.070019 | x | Positive = minimum DSCR above the display threshold on Inputs.
Model integrity checks
Debt fully repaid by end of timeline | OK
Total principal repaid = debt drawn | OK
Debt + equity = capex | OK
Tax depreciation profile totals 100% | OK
Total tax depreciation = capex | OK
Tenor ≤ term ≤ timeline capacity (25 years) | OK
Equity NPV: NPV() function = sum of discounted flows (§10) | OK
Sensitivity base case reconciles to main model | OK
Overall model status | OK
Charts show the reference term (years 0–20) and tenor (years 1–10). Simplifications: no residual value, no DSRA, no inverter replacement, no VAT, annual periods.

## Sensitivity
Sensitivity – tariff and capex flexes
Each scenario below is a full re-run of the debt, tax and cash-flow logic with flexed inputs (no Excel data tables), so the sheet recalculates in Excel, LibreOffice and Google Sheets.
ILLUSTRATIVE REFERENCE CASE – not based on any real project, client or employer data
One-way sensitivity – scenario columns
Metric | Unit | Base case | Tariff -10% | Tariff +10% | Capex -10% | Capex +10%
Tariff multiplier | x | 1 | 0.9 | 1.1 | 1 | 1
Capex multiplier | x | 1 | 1 | 1 | 0.9 | 1.1
Equity IRR | % | 19.98% | 16.72% | 23.33% | 23.35% | 17.3%
Change vs base | pp | 0% | -3.259% | 3.351% | 3.37% | -2.685%
Minimum DSCR | x | 1.27 | 1.1297 | 1.4103 | 1.4111 | 1.1546
Change vs base | x | 0 | -0.14031 | 0.14031 | 0.14111 | -0.11546
Equity NPV at equity discount rate | R | 1497251.1229 | 276930.8799 | 2700211.1236 | 2436139.1366 | 545138.0373
Two-way sensitivity – equity IRR
Capex flex (rows) × tariff flex (columns) |  |  | Tariff -10% | Base tariff | Tariff +10%
Capex -10% |  |  | 19.63% | 23.35% | 27.2%
Base capex |  |  | 16.72% | 19.98% | 23.33%
Capex +10% |  |  | 14.38% | 17.3% | 20.27%
Two-way sensitivity – minimum DSCR
Capex flex (rows) × tariff flex (columns) |  |  | Tariff -10% | Base tariff | Tariff +10%
Capex -10% |  |  | 1.2552 | 1.4111 | 1.567
Base capex |  |  | 1.1297 | 1.27 | 1.4103
Capex +10% |  |  | 1.027 | 1.1546 | 1.2821
Notes: tariff flex scales the PPA tariff in every year; capex flex scales capex, tax depreciation and senior debt (gearing held constant), so debt service moves with capex. Opex and generation are unchanged.
Scenario calculation blocks (rows grouped – use the outline buttons to collapse)
Scenario: tariff −flex, capex −flex
Tariff multiplier | x | 0.9
Capex multiplier | x | 0.9
Capex | R | 10800000
Senior debt (gearing × capex) | R | 7020000
Annual debt service | R | 1217108.0157
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 1707750 | 1792667.8687 | 1881808.2785 | 1975381.1952 | 2073607.0251 | 2176717.1344 | 2284954.3939 | 2398573.7512 | 2517842.831 | 2643042.5657 | 2774467.8573 | 2912428.2715 | 3057248.7673 | 3209270.4623 | 3368851.436 | 3536367.5737 | 3712213.4513 | 3896803.2651 | 4090571.8075 | 4293975.4906 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1527750 | 1603667.8687 | 1683358.2785 | 1767008.6952 | 1854815.9001 | 1946986.4532 | 2043737.1786 | 2145295.6751 | 2251900.8511 | 2363803.4868 | 2481266.8245 | 2604567.187 | 2733994.6286 | 2869853.6166 | 3012463.7481 | 3162160.5014 | 3319296.0253 | 3484239.9679 | 3657380.3454 | 3839124.4554 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 807300 | 760172.0782 | 707624.4454 | 649033.8348 | 583705.304 | 510863.9921 | 429645.9294 | 339087.7895 | 238115.4635 | 125531.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 409808.0157 | 456935.9375 | 509483.5703 | 568074.1809 | 633402.7117 | 706244.0236 | 787462.0863 | 878020.2262 | 978992.5522 | 1091576.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 7020000 | 6610191.9843 | 6153256.0468 | 5643772.4765 | 5075698.2956 | 4442295.5839 | 3736051.5603 | 2948589.4741 | 2070569.2479 | 1091576.6957 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09
Tax depreciation | R |  |  | 10800000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -10079550 | 843495.7906 | 975733.8331 | 1117974.8604 | 1271110.5961 | 1436122.461 | 1614091.2492 | 1806207.8856 | 2013785.3876 | 2238272.1668 | 2481266.8245 | 2604567.187 | 2733994.6286 | 2869853.6166 | 3012463.7481 | 3162160.5014 | 3319296.0253 | 3484239.9679 | 3657380.3454 | 3839124.4554 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 10079550 | 9236054.2094 | 8260320.3763 | 7142345.5159 | 5871234.9198 | 4435112.4588 | 2821021.2096 | 1014813.324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 269722.4572 | 604333.485 | 669942.0426 | 703233.1405 | 738178.5497 | 774860.4765 | 813365.212 | 853783.3354 | 896209.9268 | 940744.7913 | 987492.6933 | 1036563.603 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1527750 | 1603667.8687 | 1683358.2785 | 1767008.6952 | 1854815.9001 | 1946986.4532 | 2043737.1786 | 2145295.6751 | 1982178.3939 | 1759470.0018 | 1811324.7819 | 1901334.0465 | 1995816.0789 | 2094993.1401 | 2199098.5361 | 2308377.166 | 2423086.0985 | 2543495.1766 | 2669887.6521 | 2802560.8525 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.2552; 2: 1.3176; 3: 1.3831; 4: 1.4518; 5: 1.524; 6: 1.5997; 7: 1.6792; 8: 1.7626; 9: 1.6286; 10: 1.4456
Equity cash flow | R |  | -3780000 | 310641.9843 | 386559.8531 | 466250.2628 | 549900.6795 | 637707.8844 | 729878.4375 | 826629.1629 | 928187.6594 | 765070.3782 | 542361.9861 | 1811324.7819 | 1901334.0465 | 1995816.0789 | 2094993.1401 | 2199098.5361 | 2308377.166 | 2423086.0985 | 2543495.1766 | 2669887.6521 | 2802560.8525 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 19.63%
Minimum DSCR | x | 1.2552
Equity NPV at equity discount rate | R | 1232290.5319
Scenario: base tariff, capex −flex
Tariff multiplier | x | 1
Capex multiplier | x | 0.9
Capex | R | 10800000
Senior debt (gearing × capex) | R | 7020000
Annual debt service | R | 1217108.0157
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 1897500 | 1991853.1875 | 2090898.0872 | 2194867.9946 | 2304007.8057 | 2418574.5938 | 2538838.2155 | 2665081.9457 | 2797603.1455 | 2936713.9619 | 3082742.0637 | 3236031.4128 | 3396943.0748 | 3565856.0692 | 3743168.2622 | 3929297.3041 | 4124681.6125 | 4329781.4057 | 4545079.7861 | 4771083.8784 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 807300 | 760172.0782 | 707624.4454 | 649033.8348 | 583705.304 | 510863.9921 | 429645.9294 | 339087.7895 | 238115.4635 | 125531.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 409808.0157 | 456935.9375 | 509483.5703 | 568074.1809 | 633402.7117 | 706244.0236 | 787462.0863 | 878020.2262 | 978992.5522 | 1091576.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 7020000 | 6610191.9843 | 6153256.0468 | 5643772.4765 | 5075698.2956 | 4442295.5839 | 3736051.5603 | 2948589.4741 | 2070569.2479 | 1091576.6957 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09
Tax depreciation | R |  |  | 10800000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -9889800 | 1042681.1093 | 1184823.6419 | 1337461.6598 | 1501511.3767 | 1677979.9204 | 1867975.0707 | 2072716.0802 | 2293545.7021 | 2531943.563 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 9889800 | 8847118.8907 | 7662295.2488 | 6324833.589 | 4823322.2123 | 3145342.2919 | 1277367.2212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 214744.1919 | 619257.3396 | 683624.762 | 753176.0783 | 790605.9886 | 829896.0127 | 871138.5904 | 914430.7551 | 959874.3626 | 1007576.3304 | 1057648.8893 | 1110209.8475 | 1165382.8677 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2197059.6777 | 1912403.826 | 1973850.121 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.4111; 2: 1.4813; 3: 1.5549; 4: 1.6321; 5: 1.7133; 6: 1.7984; 7: 1.8878; 8: 1.8051; 9: 1.5713; 10: 1.6218
Equity cash flow | R |  | -3780000 | 500391.9843 | 585745.1718 | 675340.0716 | 769387.4789 | 868108.665 | 971735.8969 | 1080512.9845 | 979951.662 | 695295.8104 | 756742.1053 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 23.35%
Minimum DSCR | x | 1.4111
Equity NPV at equity discount rate | R | 2436139.1366
Scenario: tariff +flex, capex −flex
Tariff multiplier | x | 1.1
Capex multiplier | x | 0.9
Capex | R | 10800000
Senior debt (gearing × capex) | R | 7020000
Annual debt service | R | 1217108.0157
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 2087250 | 2191038.5063 | 2299987.896 | 2414354.7941 | 2534408.5862 | 2660432.0532 | 2792722.037 | 2931590.1403 | 3077363.4601 | 3230385.3581 | 3391016.27 | 3559634.5541 | 3736637.3823 | 3922441.6761 | 4117485.0884 | 4322227.0345 | 4537149.7738 | 4762759.5463 | 4999587.7647 | 5248192.2663 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1907250 | 2002038.5063 | 2101537.896 | 2205982.2941 | 2315617.4612 | 2430701.3719 | 2551504.8217 | 2678312.0642 | 2811421.4802 | 2951146.2792 | 3097815.2372 | 3251773.4696 | 3413383.2436 | 3583024.8305 | 3761097.4005 | 3948019.9622 | 4144232.3478 | 4350196.249 | 4566396.3026 | 4793341.2311 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 807300 | 760172.0782 | 707624.4454 | 649033.8348 | 583705.304 | 510863.9921 | 429645.9294 | 339087.7895 | 238115.4635 | 125531.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 1217108.0157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 409808.0157 | 456935.9375 | 509483.5703 | 568074.1809 | 633402.7117 | 706244.0236 | 787462.0863 | 878020.2262 | 978992.5522 | 1091576.6957 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 7020000 | 6610191.9843 | 6153256.0468 | 5643772.4765 | 5075698.2956 | 4442295.5839 | 3736051.5603 | 2948589.4741 | 2070569.2479 | 1091576.6957 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09 | 3.9581e-09
Tax depreciation | R |  |  | 10800000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -9700050 | 1241866.4281 | 1393913.4506 | 1556948.4593 | 1731912.1572 | 1919837.3798 | 2121858.8923 | 2339224.2747 | 2573306.0167 | 2825614.9592 | 3097815.2372 | 3251773.4696 | 3413383.2436 | 3583024.8305 | 3761097.4005 | 3948019.9622 | 4144232.3478 | 4350196.249 | 4566396.3026 | 4793341.2311 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 9700050 | 8458183.5719 | 7064270.1214 | 5507321.662 | 3775409.5048 | 1855572.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 71897.4272 | 631590.5542 | 694792.6245 | 762916.039 | 836410.114 | 877978.8368 | 921613.4758 | 967416.7042 | 1015496.2981 | 1065965.3898 | 1118942.7339 | 1174552.9872 | 1232927.0017 | 1294202.1324 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1907250 | 2002038.5063 | 2101537.896 | 2205982.2941 | 2315617.4612 | 2430701.3719 | 2479607.3946 | 2046721.5101 | 2116628.8557 | 2188230.2402 | 2261405.1232 | 2373794.6328 | 2491769.7678 | 2615608.1262 | 2745601.1024 | 2882054.5724 | 3025289.6139 | 3175643.2618 | 3333469.3009 | 3499139.0987 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.567; 2: 1.6449; 3: 1.7267; 4: 1.8125; 5: 1.9026; 6: 1.9971; 7: 2.0373; 8: 1.6816; 9: 1.7391; 10: 1.7979
Equity cash flow | R |  | -3780000 | 690141.9843 | 784930.4906 | 884429.8803 | 988874.2784 | 1098509.4455 | 1213593.3562 | 1262499.3789 | 829613.4944 | 899520.84 | 971122.2245 | 2261405.1232 | 2373794.6328 | 2491769.7678 | 2615608.1262 | 2745601.1024 | 2882054.5724 | 3025289.6139 | 3175643.2618 | 3333469.3009 | 3499139.0987 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 27.2%
Minimum DSCR | x | 1.567
Equity NPV at equity discount rate | R | 3624951.0122
Scenario: tariff −flex, base capex
Tariff multiplier | x | 0.9
Capex multiplier | x | 1
Capex | R | 12000000
Senior debt (gearing × capex) | R | 7800000
Annual debt service | R | 1352342.2397
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 1707750 | 1792667.8687 | 1881808.2785 | 1975381.1952 | 2073607.0251 | 2176717.1344 | 2284954.3939 | 2398573.7512 | 2517842.831 | 2643042.5657 | 2774467.8573 | 2912428.2715 | 3057248.7673 | 3209270.4623 | 3368851.436 | 3536367.5737 | 3712213.4513 | 3896803.2651 | 4090571.8075 | 4293975.4906 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1527750 | 1603667.8687 | 1683358.2785 | 1767008.6952 | 1854815.9001 | 1946986.4532 | 2043737.1786 | 2145295.6751 | 2251900.8511 | 2363803.4868 | 2481266.8245 | 2604567.187 | 2733994.6286 | 2869853.6166 | 3012463.7481 | 3162160.5014 | 3319296.0253 | 3484239.9679 | 3657380.3454 | 3839124.4554 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 897000 | 844635.6424 | 786249.3838 | 721148.7053 | 648561.4489 | 567626.6579 | 477384.366 | 376764.2106 | 264572.7372 | 139479.2444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 455342.2397 | 507706.5972 | 566092.8559 | 631193.5343 | 703780.7908 | 784715.5817 | 874957.8736 | 975578.0291 | 1087769.5024 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 7800000 | 7344657.7603 | 6836951.1631 | 6270858.3072 | 5639664.7729 | 4935883.9821 | 4151168.4004 | 3276210.5267 | 2300632.4976 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation | R |  |  | 12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -11369250 | 759032.2263 | 897108.8948 | 1045859.9898 | 1206254.4512 | 1379359.7952 | 1566352.8126 | 1768531.4645 | 1987328.1138 | 2224324.2424 | 2481266.8245 | 2604567.187 | 2733994.6286 | 2869853.6166 | 3012463.7481 | 3162160.5014 | 3319296.0253 | 3484239.9679 | 3657380.3454 | 3839124.4554 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 11369250 | 10610217.7737 | 9713108.8789 | 8667248.8891 | 7460994.4379 | 6081634.6426 | 4515281.83 | 2746750.3655 | 759422.2517 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 395523.5375 | 669942.0426 | 703233.1405 | 738178.5497 | 774860.4765 | 813365.212 | 853783.3354 | 896209.9268 | 940744.7913 | 987492.6933 | 1036563.603 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1527750 | 1603667.8687 | 1683358.2785 | 1767008.6952 | 1854815.9001 | 1946986.4532 | 2043737.1786 | 2145295.6751 | 2251900.8511 | 1968279.9494 | 1811324.7819 | 1901334.0465 | 1995816.0789 | 2094993.1401 | 2199098.5361 | 2308377.166 | 2423086.0985 | 2543495.1766 | 2669887.6521 | 2802560.8525 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.1297; 2: 1.1858; 3: 1.2448; 4: 1.3066; 5: 1.3716; 6: 1.4397; 7: 1.5113; 8: 1.5864; 9: 1.6652; 10: 1.4555
Equity cash flow | R |  | -4200000 | 175407.7603 | 251325.6291 | 331016.0389 | 414666.4555 | 502473.6604 | 594644.2135 | 691394.939 | 792953.4354 | 899558.6114 | 615937.7097 | 1811324.7819 | 1901334.0465 | 1995816.0789 | 2094993.1401 | 2199098.5361 | 2308377.166 | 2423086.0985 | 2543495.1766 | 2669887.6521 | 2802560.8525 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 16.72%
Minimum DSCR | x | 1.1297
Equity NPV at equity discount rate | R | 276930.8799
Scenario: base tariff, base capex
Tariff multiplier | x | 1
Capex multiplier | x | 1
Capex | R | 12000000
Senior debt (gearing × capex) | R | 7800000
Annual debt service | R | 1352342.2397
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 1897500 | 1991853.1875 | 2090898.0872 | 2194867.9946 | 2304007.8057 | 2418574.5938 | 2538838.2155 | 2665081.9457 | 2797603.1455 | 2936713.9619 | 3082742.0637 | 3236031.4128 | 3396943.0748 | 3565856.0692 | 3743168.2622 | 3929297.3041 | 4124681.6125 | 4329781.4057 | 4545079.7861 | 4771083.8784 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 897000 | 844635.6424 | 786249.3838 | 721148.7053 | 648561.4489 | 567626.6579 | 477384.366 | 376764.2106 | 264572.7372 | 139479.2444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 455342.2397 | 507706.5972 | 566092.8559 | 631193.5343 | 703780.7908 | 784715.5817 | 874957.8736 | 975578.0291 | 1087769.5024 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 7800000 | 7344657.7603 | 6836951.1631 | 6270858.3072 | 5639664.7729 | 4935883.9821 | 4151168.4004 | 3276210.5267 | 2300632.4976 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation | R |  |  | 12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -11179500 | 958217.5451 | 1106198.7035 | 1265346.7893 | 1436655.2318 | 1621217.2546 | 1820236.6341 | 2035039.6591 | 2267088.4284 | 2517995.6386 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 11179500 | 10221282.4549 | 9115083.7514 | 7849736.9621 | 6413081.7303 | 4791864.4757 | 2971627.8416 | 936588.1825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 359235.0664 | 679858.8224 | 753176.0783 | 790605.9886 | 829896.0127 | 871138.5904 | 914430.7551 | 959874.3626 | 1007576.3304 | 1057648.8893 | 1110209.8475 | 1165382.8677 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2172426.0992 | 1977616.0606 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.27; 2: 1.3331; 3: 1.3994; 4: 1.4689; 5: 1.5419; 6: 1.6186; 7: 1.699; 8: 1.7834; 9: 1.6064; 10: 1.4624
Equity cash flow | R |  | -4200000 | 365157.7603 | 450510.9478 | 540105.8476 | 634153.255 | 732874.441 | 836501.6729 | 945278.7605 | 1059461.63 | 820083.8596 | 625273.821 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 19.98%
Minimum DSCR | x | 1.27
Equity NPV at equity discount rate | R | 1497251.1229
Scenario: tariff +flex, base capex
Tariff multiplier | x | 1.1
Capex multiplier | x | 1
Capex | R | 12000000
Senior debt (gearing × capex) | R | 7800000
Annual debt service | R | 1352342.2397
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 2087250 | 2191038.5063 | 2299987.896 | 2414354.7941 | 2534408.5862 | 2660432.0532 | 2792722.037 | 2931590.1403 | 3077363.4601 | 3230385.3581 | 3391016.27 | 3559634.5541 | 3736637.3823 | 3922441.6761 | 4117485.0884 | 4322227.0345 | 4537149.7738 | 4762759.5463 | 4999587.7647 | 5248192.2663 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1907250 | 2002038.5063 | 2101537.896 | 2205982.2941 | 2315617.4612 | 2430701.3719 | 2551504.8217 | 2678312.0642 | 2811421.4802 | 2951146.2792 | 3097815.2372 | 3251773.4696 | 3413383.2436 | 3583024.8305 | 3761097.4005 | 3948019.9622 | 4144232.3478 | 4350196.249 | 4566396.3026 | 4793341.2311 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 897000 | 844635.6424 | 786249.3838 | 721148.7053 | 648561.4489 | 567626.6579 | 477384.366 | 376764.2106 | 264572.7372 | 139479.2444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 1352342.2397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 455342.2397 | 507706.5972 | 566092.8559 | 631193.5343 | 703780.7908 | 784715.5817 | 874957.8736 | 975578.0291 | 1087769.5024 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 7800000 | 7344657.7603 | 6836951.1631 | 6270858.3072 | 5639664.7729 | 4935883.9821 | 4151168.4004 | 3276210.5267 | 2300632.4976 | 1212862.9952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation | R |  |  | 12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -10989750 | 1157402.8638 | 1315288.5122 | 1484833.5888 | 1667056.0124 | 1863074.714 | 2074120.4557 | 2301547.8537 | 2546848.7429 | 2811667.0348 | 3097815.2372 | 3251773.4696 | 3413383.2436 | 3583024.8305 | 3761097.4005 | 3948019.9622 | 4144232.3478 | 4350196.249 | 4566396.3026 | 4793341.2311 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 10989750 | 9832347.1362 | 8517058.624 | 7032225.0352 | 5365169.0228 | 3502094.3088 | 1427973.8532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235864.9801 | 687649.1606 | 759150.0994 | 836410.114 | 877978.8368 | 921613.4758 | 967416.7042 | 1015496.2981 | 1065965.3898 | 1118942.7339 | 1174552.9872 | 1232927.0017 | 1294202.1324 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1907250 | 2002038.5063 | 2101537.896 | 2205982.2941 | 2315617.4612 | 2430701.3719 | 2551504.8217 | 2442447.0841 | 2123772.3196 | 2191996.1798 | 2261405.1232 | 2373794.6328 | 2491769.7678 | 2615608.1262 | 2745601.1024 | 2882054.5724 | 3025289.6139 | 3175643.2618 | 3333469.3009 | 3499139.0987 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.4103; 2: 1.4804; 3: 1.554; 4: 1.6312; 5: 1.7123; 6: 1.7974; 7: 1.8867; 8: 1.8061; 9: 1.5704; 10: 1.6209
Equity cash flow | R |  | -4200000 | 554907.7603 | 649696.2666 | 749195.6563 | 853640.0544 | 963275.2216 | 1078359.1323 | 1199162.5821 | 1090104.8444 | 771430.0799 | 839653.9402 | 2261405.1232 | 2373794.6328 | 2491769.7678 | 2615608.1262 | 2745601.1024 | 2882054.5724 | 3025289.6139 | 3175643.2618 | 3333469.3009 | 3499139.0987 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 23.33%
Minimum DSCR | x | 1.4103
Equity NPV at equity discount rate | R | 2700211.1236
Scenario: tariff −flex, capex +flex
Tariff multiplier | x | 0.9
Capex multiplier | x | 1.1
Capex | R | 13200000
Senior debt (gearing × capex) | R | 8580000
Annual debt service | R | 1487576.4636
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 1707750 | 1792667.8687 | 1881808.2785 | 1975381.1952 | 2073607.0251 | 2176717.1344 | 2284954.3939 | 2398573.7512 | 2517842.831 | 2643042.5657 | 2774467.8573 | 2912428.2715 | 3057248.7673 | 3209270.4623 | 3368851.436 | 3536367.5737 | 3712213.4513 | 3896803.2651 | 4090571.8075 | 4293975.4906 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1527750 | 1603667.8687 | 1683358.2785 | 1767008.6952 | 1854815.9001 | 1946986.4532 | 2043737.1786 | 2145295.6751 | 2251900.8511 | 2363803.4868 | 2481266.8245 | 2604567.187 | 2733994.6286 | 2869853.6166 | 3012463.7481 | 3162160.5014 | 3319296.0253 | 3484239.9679 | 3657380.3454 | 3839124.4554 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 986700 | 929099.2067 | 864874.3221 | 793263.5759 | 713417.5938 | 624389.3237 | 525122.8026 | 414440.6316 | 291030.011 | 153427.1689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 500876.4636 | 558477.2569 | 622702.1415 | 694312.8878 | 774158.8699 | 863187.1399 | 962453.661 | 1073135.832 | 1196546.4527 | 1334149.2947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 8580000 | 8079123.5364 | 7520646.2794 | 6897944.1379 | 6203631.2502 | 5429472.3803 | 4566285.2404 | 3603831.5794 | 2530695.7474 | 1334149.2947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation | R |  |  | 13200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -12658950 | 674568.6621 | 818483.9564 | 973745.1193 | 1141398.3063 | 1322597.1294 | 1518614.376 | 1730855.0435 | 1960870.8401 | 2210376.3179 | 2481266.8245 | 2604567.187 | 2733994.6286 | 2869853.6166 | 3012463.7481 | 3162160.5014 | 3319296.0253 | 3484239.9679 | 3657380.3454 | 3839124.4554 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 12658950 | 11984381.3379 | 11165897.3815 | 10192152.2622 | 9050753.9559 | 7728156.8265 | 6209542.4505 | 4478687.407 | 2517816.5669 | 307440.2489 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 586933.1754 | 703233.1405 | 738178.5497 | 774860.4765 | 813365.212 | 853783.3354 | 896209.9268 | 940744.7913 | 987492.6933 | 1036563.603 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1527750 | 1603667.8687 | 1683358.2785 | 1767008.6952 | 1854815.9001 | 1946986.4532 | 2043737.1786 | 2145295.6751 | 2251900.8511 | 2363803.4868 | 1894333.6491 | 1901334.0465 | 1995816.0789 | 2094993.1401 | 2199098.5361 | 2308377.166 | 2423086.0985 | 2543495.1766 | 2669887.6521 | 2802560.8525 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.027; 2: 1.078; 3: 1.1316; 4: 1.1878; 5: 1.2469; 6: 1.3088; 7: 1.3739; 8: 1.4421; 9: 1.5138; 10: 1.589
Equity cash flow | R |  | -4620000 | 40173.5364 | 116091.4051 | 195781.8149 | 279432.2315 | 367239.4365 | 459409.9895 | 556160.715 | 657719.2115 | 764324.3874 | 876227.0232 | 1894333.6491 | 1901334.0465 | 1995816.0789 | 2094993.1401 | 2199098.5361 | 2308377.166 | 2423086.0985 | 2543495.1766 | 2669887.6521 | 2802560.8525 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 14.38%
Minimum DSCR | x | 1.027
Equity NPV at equity discount rate | R | -690806.8512
Scenario: base tariff, capex +flex
Tariff multiplier | x | 1
Capex multiplier | x | 1.1
Capex | R | 13200000
Senior debt (gearing × capex) | R | 8580000
Annual debt service | R | 1487576.4636
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 1897500 | 1991853.1875 | 2090898.0872 | 2194867.9946 | 2304007.8057 | 2418574.5938 | 2538838.2155 | 2665081.9457 | 2797603.1455 | 2936713.9619 | 3082742.0637 | 3236031.4128 | 3396943.0748 | 3565856.0692 | 3743168.2622 | 3929297.3041 | 4124681.6125 | 4329781.4057 | 4545079.7861 | 4771083.8784 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2657474.883 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 986700 | 929099.2067 | 864874.3221 | 793263.5759 | 713417.5938 | 624389.3237 | 525122.8026 | 414440.6316 | 291030.011 | 153427.1689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 500876.4636 | 558477.2569 | 622702.1415 | 694312.8878 | 774158.8699 | 863187.1399 | 962453.661 | 1073135.832 | 1196546.4527 | 1334149.2947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 8580000 | 8079123.5364 | 7520646.2794 | 6897944.1379 | 6203631.2502 | 5429472.3803 | 4566285.2404 | 3603831.5794 | 2530695.7474 | 1334149.2947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation | R |  |  | 13200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -12469200 | 873753.9808 | 1027573.7651 | 1193231.9188 | 1371799.0869 | 1564454.5888 | 1772498.1975 | 1997363.238 | 2240631.1547 | 2504047.7141 | 2789541.0308 | 2928170.3283 | 3073688.9361 | 3226439.2236 | 3386780.5743 | 3555090.2318 | 3731764.1866 | 3917218.1085 | 4111888.324 | 4316232.8433 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 12469200 | 11595446.0192 | 10567872.2541 | 9374640.3353 | 8002841.2484 | 6438386.6596 | 4665888.462 | 2668525.224 | 427894.0693 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 560561.4841 | 753176.0783 | 790605.9886 | 829896.0127 | 871138.5904 | 914430.7551 | 959874.3626 | 1007576.3304 | 1057648.8893 | 1110209.8475 | 1165382.8677 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1717500 | 1802853.1875 | 1892448.0872 | 1986495.4946 | 2085216.6807 | 2188843.9126 | 2297621.0002 | 2411803.8697 | 2531661.1656 | 2096913.3989 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.1546; 2: 1.2119; 3: 1.2722; 4: 1.3354; 5: 1.4018; 6: 1.4714; 7: 1.5445; 8: 1.6213; 9: 1.7019; 10: 1.4096
Equity cash flow | R |  | -4620000 | 229923.5364 | 315276.7239 | 404871.6236 | 498919.031 | 597640.217 | 701267.4489 | 810044.5365 | 924227.406 | 1044084.702 | 609336.9353 | 2036364.9525 | 2137564.3397 | 2243792.9234 | 2355300.6332 | 2472349.8193 | 2595215.8692 | 2724187.8562 | 2859569.2192 | 3001678.4765 | 3150849.9756 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 17.3%
Minimum DSCR | x | 1.1546
Equity NPV at equity discount rate | R | 545138.0373
Scenario: tariff +flex, capex +flex
Tariff multiplier | x | 1.1
Capex multiplier | x | 1.1
Capex | R | 13200000
Senior debt (gearing × capex) | R | 8580000
Annual debt service | R | 1487576.4636
Model year |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue | R |  |  | 2087250 | 2191038.5063 | 2299987.896 | 2414354.7941 | 2534408.5862 | 2660432.0532 | 2792722.037 | 2931590.1403 | 3077363.4601 | 3230385.3581 | 3391016.27 | 3559634.5541 | 3736637.3823 | 3922441.6761 | 4117485.0884 | 4322227.0345 | 4537149.7738 | 4762759.5463 | 4999587.7647 | 5248192.2663 | 0 | 0 | 0 | 0 | 0
EBITDA | R |  |  | 1907250 | 2002038.5063 | 2101537.896 | 2205982.2941 | 2315617.4612 | 2430701.3719 | 2551504.8217 | 2678312.0642 | 2811421.4802 | 2951146.2792 | 3097815.2372 | 3251773.4696 | 3413383.2436 | 3583024.8305 | 3761097.4005 | 3948019.9622 | 4144232.3478 | 4350196.249 | 4566396.3026 | 4793341.2311 | 0 | 0 | 0 | 0 | 0
Interest | R |  |  | 986700 | 929099.2067 | 864874.3221 | 793263.5759 | 713417.5938 | 624389.3237 | 525122.8026 | 414440.6316 | 291030.011 | 153427.1689 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service | R |  |  | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 1487576.4636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal | R |  |  | 500876.4636 | 558477.2569 | 622702.1415 | 694312.8878 | 774158.8699 | 863187.1399 | 962453.661 | 1073135.832 | 1196546.4527 | 1334149.2947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing debt balance | R |  | 8580000 | 8079123.5364 | 7520646.2794 | 6897944.1379 | 6203631.2502 | 5429472.3803 | 4566285.2404 | 3603831.5794 | 2530695.7474 | 1334149.2947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax depreciation | R |  |  | 13200000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxable income before assessed loss | R |  |  | -12279450 | 1072939.2996 | 1236663.5738 | 1412718.7182 | 1602199.8675 | 1806312.0482 | 2026382.0191 | 2263871.4326 | 2520391.4692 | 2797719.1103 | 3097815.2372 | 3251773.4696 | 3413383.2436 | 3583024.8305 | 3761097.4005 | 3948019.9622 | 4144232.3478 | 4350196.249 | 4566396.3026 | 4793341.2311 | 0 | 0 | 0 | 0 | 0
Assessed loss carried forward | R |  |  | 12279450 | 11206510.7004 | 9969847.1266 | 8557128.4084 | 6954928.5409 | 5148616.4927 | 3122234.4736 | 858363.041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax payable (levered) | R |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 448747.6756 | 755384.1598 | 836410.114 | 877978.8368 | 921613.4758 | 967416.7042 | 1015496.2981 | 1065965.3898 | 1118942.7339 | 1174552.9872 | 1232927.0017 | 1294202.1324 | 0 | 0 | 0 | 0 | 0
CFADS | R |  |  | 1907250 | 2002038.5063 | 2101537.896 | 2205982.2941 | 2315617.4612 | 2430701.3719 | 2551504.8217 | 2678312.0642 | 2362673.8045 | 2195762.1194 | 2261405.1232 | 2373794.6328 | 2491769.7678 | 2615608.1262 | 2745601.1024 | 2882054.5724 | 3025289.6139 | 3175643.2618 | 3333469.3009 | 3499139.0987 | 0 | 0 | 0 | 0 | 0
DSCR | x |  | 1: 1.2821; 2: 1.3458; 3: 1.4127; 4: 1.4829; 5: 1.5566; 6: 1.634; 7: 1.7152; 8: 1.8005; 9: 1.5883; 10: 1.4761
Equity cash flow | R |  | -4620000 | 419673.5364 | 514462.0426 | 613961.4323 | 718405.8305 | 828040.9976 | 943124.9083 | 1063928.3581 | 1190735.6006 | 875097.3409 | 708185.6558 | 2261405.1232 | 2373794.6328 | 2491769.7678 | 2615608.1262 | 2745601.1024 | 2882054.5724 | 3025289.6139 | 3175643.2618 | 3333469.3009 | 3499139.0987 | 0 | 0 | 0 | 0 | 0
Equity IRR | % | 20.27%
Minimum DSCR | x | 1.2821
Equity NPV at equity discount rate | R | 1762211.7138